| Division of Finance and Business Operations |  | Procurement & Strategic Sourcing 5700 Cass Avenue, suite 4200 Detroit, Michigan 48202 (313) 577-3734 FAX (313) 577-3747 |
| --- | --- | --- |

June 12, 2014

Addendum #1/Minutes To

Request for Proposal

FPM Block Renovation Phase 1 – 2014, Project R575449

Dated May 15, 2014

Minutes of the Pre-bid Conference

The Addendum must be acknowledged on your lump sum bid.

The pre-bid conference for Request for Proposal Block Renovation Phase 1 - 2014, Project R575449 was held on June 11, 2014, at 2:00 p. m. (local time) – at 2727 Second Avenue,Detroit, MI 48206.  Robert Kuhn, Sr. Buyer, reviewed the highlights of the pre-bid package, especially concerning details such as bid due dates and who Contractors may contact during the live bid process.  Matteo Passalacqua and Patrick Thompson, IIDA from Patrick Thompson Design Group, LLC,  discussed the technical aspects of the project and bid requirements, and conducted the Q & A session.

NOTE: You must have attended a pre-bid conference in order to be eligible to bid on a particular project.  Receipt of minutes or addenda without being at a pre-bid conference does not qualify your company to bid.

Numerous simple questions and answers were addressed at the pre-bid meeting. Some of the issues were as follows:

- Wayne State University is a partner with the New Technology Development LP on the Block Building, located at 2727 Second Avenue, Detroit, MI  48206.  WSU is bidding this project on behalf of the New Technology Development, LP.

- The building will be cleaned in preparation of commercial leasing.  Work also includes ceilings, lighting, some electrical, flooring, painting of corridors, etc.

- A bid bond is not required for bids below $50,000.  Otherwise, a bid bond (5%) will be required for the full amount of the bid.

- Performance Bond and Material & Labor Payment Bond requirements are listed in the specifications of the job.  Performance & Material & Labor Payment Bonds must be provided by the awarded Contractor with the submission of the signed contract; which will then be submitted to FP&M management for counter signature.

- The awarded Contractor must provide the required Certificate of Insurance in compliance with Section 800, article 11 of the bid specifications prior to commencement of any work.

- If your company has not previously done business with the University you may go to the Purchasing website at www.purchasing.wayne.edu and look for the “new Contractor” link under “Information for Contractors” on the left.  You may submit a new Contractor request form and an IRS form W-9.  This will register your company on our Contractor list.  (NOTE: this does not replace the listserv.)

- This Project Requires the Contractor and any subcontractors to compensate all employees who come to the job site at no less than State of Michigan Prevailing Wage Rates.  A Prevailing Wage Rate Schedule is included in Section 00410 of the Bid Specifications.  Contractors must review these requirements to be sure they are in compliance with the requirements of the University and the State of Michigan. Contact the State of Michigan if further information on prevailing wage rate is needed at website http://www.michigan.gov/dleg/0,1607,7-154-27673_27706---,00.html.  Contractors must post wages at the job site in compliance with the complete Prevailing Wage Rate listing provided in Bid Documents.

- 1099 workers and subcontractors using 1099 workers are NOT acceptable

- Certified Payroll must be provided with each of the contractor’s pay applications for all workers who worked at the job site, in compliance with the State of Michigan policy.  Failure to provide certified payroll will constitute breach of contract and pay applications will be returned unpaid, and remain so until satisfactory supporting documents are provided.

- Signed waivers from all Subcontractors and suppliers must accompany Pay Applications or they will be returned for such documentation prior to approval.

- A properly executed sworn statement is required from all tiers of contractors, and sub-contractors indicating sub-contractors and suppliers which provide services or product of $1,000.00 or greater.  Sworn statements must accompany applications for payment

- All documents listed in the Front End Section 0410-2 “Wayne State Prevailing Wage Requirements” must accompany applications for payment. Failure to do so will result in the entire application package returned for correction.

- A checklist of all Pay Application requirements can be found in Section 00430-1.

- The competency and responsibility of Bidders will be considered in making the award.  The Owner does not obligate himself to accept the lowest or any other bids.  The Owner reserves the right to reject any and all bids and to waive any informalities in the Proposals

- Parking on WSU campus lots and structures are $6.50/access.  Contractor may park at the buildings gated parking at no charge.

- Please find revised Section 300, Form of Proposal to include lump sum pricing for each phase and unit pricing for contingency work, including tile repair under the reception desk, restoration of wooden doors, etc.

- The contractors must fill out our prequalification form.  They can attach additional information if they would like but at a minimum the information requested must be filled in on our form so that we do not have to hunt to find the information.

- Contractors who have withdrawn a bid after a University bid opening and/or refused to enter into a contract with the University upon notification of award within the last 3 years are not eligible to bid on this project.

- Project hours of operation are 6:30 a. m. – 6:00 p. m.   Vendor must quote straight time; however any other hours  requires advance notice and approval.

- Prequalification meeting will be held the first business day after bid openings.  Contractors must be available.  The Project Manager will coordinate the meetings.

- Prequalification meeting includes Schedule of Values from the Contractor, including a list of Contractor’s subcontractors and other qualifications required by the documents.

- An unsigned contract will be given to the successful Contractor at the conclusion of the Prequalification meeting, if all aspects of the bid are in order.  The Contractor has 5 business days to return the contract to the Project Manager for University counter signature.  The contractor must also submit a Performance Bond as outlined above and a Certificate of Insurance in the same 5 business day period.  In the event the Contractor fails to return the documents in this 5 day period, the University reserves the right to award the contract to the next most responsive bidder.

- An Optional second walk thru was not scheduled.

- Permit requirements are the responsibility of the awarded contractor as listed on Section 800 Article 4.  However, no Permits are required for this project.

- Contractor must provide their own dumpster if needed, which must be rubber or plywood padded if placed on concrete.  Location and duration must be coordinated with the project manager.  Dumpster must be tagged with the name of your company clearly displayed. Any lawn damage must be restored.

- Chillers for this project have been pre-purchased from Carrier by WSU for Contractor to install.

- A loading dock is located at the rear of the facility but the freight elevator is located at the front of the building (long haul).

- Vendors may load/unload from the basement garage and a staging area will be provided by the project manager.

- The loading dock has a single door while the garage door has double doors.

- If passenger elevators are allowed by the project manager, vendors must pad to protect the wooden walls and veneers.

- Vendors must stop all work if hazardous materials are found and must apprise the project manager.  Wayne State University will abate any and all hazardous materials.

- As built drawings required for electrical work.

- Completion schedule to be coordinated with the project manager and is estimated as follows.(All dates are flexible):

- Phase 3 and 4 to be completed by August 30, 2014

- Phase 2, main entrance & exterior lighting to be completed by December 15, 2014

- Phase 5, 2nd floor and 1st floor lobby to be completed by October 30, 2014

- Furniture is not part of this project.

- The front lobby includes cleaning and flooring, see drawings and specifications.

- Signage is required, see drawings and specifications.

- 2nd Floor Corridor includes prepping, patching, and painting.

- No marble work on walls required.  Marble work will be done as a separate project.

- Electrical and lighting to be “design build” with “as built” drawings required.

- Questions are due by June 18, 2014  at 12:00 noon

- Bids are due no later than 2:00 p.m., June 25, 2014, at 5700 Cass Ave. Room 4200 AAB.  
No public bid opening will be held.

- Time of Completion: The Contract is expected to be fully executed on or about 15 calendar days after successful bidder qualification and recommendation of award.  The successful bidder (Contractor) agrees to start construction immediately after receipt of a fully executed contract and Purchase Order, and to complete the work as follows:  Substantial Completion, and State Approved Inspections (if appropriate), no later than December 15, 2014.

- A copy of the sign in sheet is available for downloading from the University Purchasing Web Site at  http://www.forms.purchasing.wayne.edu/Adv_bid/Adv_bid.html.

- This is an occupied area, awarded Contractor must be considerate of environment (noise, cleanliness, etc)

- IMPORTANT- This is an addendum which MUST be acknowledged on your bid form

- All existing diffusers to be replaced with the specification or equal below. Alternates will be considered. Submissions need to be submitted to Patrick Thompson Design for consideration once the bid has been awarded.

- SPECIFICATION- (Titus- DAT - Louvered Plaque- Steel- Standard finish #26 24x24 with 2 slot air vent)

- Existing incoming phone lines in Conference room 105 to be considered for removal. If determined as non-working, phone lines and box should be removed and walls to be patched and prepped as necessary.

- Alternate architectural specifications will be considered once the bid has been awarded. All specifications to be sent to Patrick Thompson Design for consideration.

We will require two copies each of your lump sum proposals, Contractor qualification questionnaire and your bid bond documents.

All questions concerning this project must be emailed to: Robert Kuhn, Sr. Buyer, at: ac6243@wayne.edu copy rfpteam2@wayne.edu.

Do not contact either the New Technology Development LP or the Design Firm directly as this may result in disqualification of your proposal.

Thank you for interest shown in working with Wayne State University.

Robert Kuhn, Senior Buyer

CC:	Matteo Passalacqua  (Project Manager), Ian Stutters, Valerie Kreher, Senior Buyer, Attendee list.