| Division of Finance and Business Operations |  | Procurement & Strategic Sourcing 5700 Cass Avenue, suite 4200 Detroit, Michigan 48202 (313) 577-3734 FAX (313) 577-3747 |
| --- | --- | --- |

September 10, 2014

Addendum #1/Minutes of the Pre-bid Conference for the Following:

Request for Proposal For

Electrical Reliability Upgrades – Bid Package #1:

Project 003-245182 – Physics Building, 090-245186 – Engineering Building

Electrical Reliability Upgrades – Bid Package #3:

Project 005-219056 - Science Hall, 169-235557- Bioengineering, 603-243264 - Pharmacy

Dated August 26, 2014

The Addendum must be acknowledged on your lump sum bid.

The pre-bid conference for Request for Proposal for Electrical Reliability Upgrades Bid Package #1– Project 003-245182 – Physics Building & 090-245186 – Engineering Building and Bid Package #3 - Project 005-219056 (Science Hall),169-235557 (Bioengineering), 603-243264 (Pharmacy) was held on September 10, 2014, at 1:00P.M. (local time) – at FP& M, 5454 Cass Avenue, Detroit, MI 48202.  Robert Kuhn, Sr. Buyer, reviewed the highlights of the bid packages, especially concerning details such as bid due dates and who vendors may contact during the live bid process.  Thomas J. Edwards of WSU and Jose Meijer, from Peter Basso and Associates Inc., and Bill McVea of WSU, and Chris Miller, from Commonwealth Associates, Inc. discussed the technical aspects of the project and bid requirements, and conducted the Q & A session.

NOTE: You must have attended a pre-bid conference in order to be eligible to bid on a particular project.  Receipt of minutes or addenda without being at a pre-bid conference does not qualify your company to bid.

Numerous simple questions and answers were addressed at the pre-bid meeting. Some of the issues were as follows:

- Questions due date has been changed to September 22, 2014 at 12:00 noon.

- Bids are due no later than 2:00 p.m., October 1, 2014, at 5700 Cass Ave. Room 4200 AAB.  
No public bid opening will be held.

- A bid bond is not required for bids below $50,000.  Otherwise, a bid bond (5%) will be required for the full amount of the bid.

- Performance Bond and Material & Labor Payment Bond requirements are listed in the specifications for each project.  Performance & Material & Labor Payment Bonds must be provided by the awarded Vendor with the submission of the signed contract; which will then be submitted to FP&M management for counter signature.

- The awarded vendor must provide the required Certificate of Insurance in compliance with Section 800, article 11 of the bid specifications prior to commencement of any work.

- If your company has not previously done business with the University you may go to the Purchasing website at www.purchasing.wayne.edu and look for the “new vendor” link under “Information for Vendors” on the left.  You may submit a new vendor request form and an IRS form W-9.  This will register your company on our vendor list.  (NOTE: this does not replace the listserv.)

- This Project Requires the Contractor and any subcontractors to compensate all employees who come to the job site at no less than State of Michigan Prevailing Wage Rates.  A Prevailing Wage Rate Schedule is included in Section 00410 of the Bid Specifications.  Vendors must review these requirements to be sure they are in compliance with the requirements of the University and the State of Michigan. Contact the State of Michigan if further information on prevailing wage rate is needed at website http://www.michigan.gov/dleg/0,1607,7-154-27673_27706---,00.html.  Vendors must post wages at the job site in compliance with the complete Prevailing Wage Rate listing provided in Bid Documents.

- 1099 workers and subcontractors using 1099 workers are NOT acceptable.

- Certified Payroll must be provided with each of the contractor’s pay applications for all workers who worked at the job site, in compliance with the State of Michigan policy.  Failure to provide certified payroll will constitute breach of contract and pay applications will be returned unpaid, and remain so until satisfactory supporting documents are provided.

- Signed waivers from all Subcontractors and suppliers must accompany Pay Applications or they will be returned for such documentation prior to approval.

- A properly executed sworn statement is required from all tiers of contractors, and sub-contractors indicating sub-contractors and suppliers which provide services or product of $1,000.00 or greater.  Sworn statements must accompany applications for payment.

- All documents listed in the Front End Section 0410-2 “Wayne State Prevailing Wage Requirements” must accompany applications for payment. Failure to do so will result in the entire application package returned for correction.

- A checklist of all Pay Application requirements can be found in Section 00430-1.

- The competency and responsibility of Bidders will be considered in making the award.  The Owner does not obligate himself to accept the lowest or any other bids.  The Owner reserves the right to reject any and all bids and to waive any informalities in the Proposals.

- Parking on WSU campus lots and structures are $7.00/access.  Vendor must build parking into their lump sum bid.

- Section 300, Form of Proposal has changed very recently, review carefully and complete in its entirety to avoid disqualification.  Please find the revised Section 300 for Bid Pack #1 and Bid Pack #3 included with addendum no. 2 to be issued next week.

- A site visit has been rescheduled  to view each of the buildings on Wednesday September 17, 2014 at 1:00 PM.    Meet at the FP&M Office, Conference Room 1 at 5454 Cass Avenue, Detroit, MI  48202.   Please do not be late.  There will not be any allowances/exceptions for any late arrivals and the site tour shall proceed once all attendees have boarded the transportation provided . The University will provide a van, which can accommodate up to approximately 25 people.  Please keep your teams small if you plan on bringing more than 1 participant.  Please note, only those vendors that attended the mandatory pre-bid meeting will be allowed to participate in this bid opportunity. If you attend the site visit but did not attend the mandatory prebid, any response received will not be accepted.

- The contractors must fill out our prequalification form, and other required forms included with form of proposal.  They can attach additional information if they would like but at a minimum the information requested must be filled in on our prequalification form and other required forms so that we do not have to hunt to find the information.

- Contractors who have withdrawn a bid after a University bid opening and/or refused to enter into a contract with the University upon notification of award within the last 3 years are not eligible to bid on this project.

- Project hours of operation are 7:00am – 5:00 pm.  Anything else requires advance notice and approval.

- Prequalification meeting will be held the first business day after bid openings.  Contractors must be available.  The Project Manager will coordinate the meetings.

- At the prequalification meeting interviewed contractors must provide a Schedule of Values from the Contractor, including a list of Contractor’s subcontractors and other qualifications required by the documents.

- An unsigned contract will be given to the successful Contractor at the conclusion of the Prequalification meeting, if all aspects of the bid are in order.  The Contractor has 5 business days to return the contract to the Project Manager for University counter signature.  The contractor must also submit a Performance Bond as outlined above and a Certificate of Insurance in the same 5 business day period.  In the event the Contractor fails to return the documents in this 5 day period, the University reserves the right to award the contract to the next most responsive bidder.

- Permit requirements are the responsibility of the awarded contractor as listed on Section 800 Article 4.

- Vendor must provide their own dumpster if needed, which must be rubber or plywood padded if placed on concrete.  Location and duration must be coordinated with the project manager.  Dumpster must be tagged with the name of your company clearly displayed. Any lawn damage must be restored.

- Time of Completion: The Contract is expected to be fully executed on or about 15 calendar days after successful bidder qualification and recommendation of award.  The successful bidder (Contractor) agrees to start construction immediately after receipt of a fully executed contract and Purchase Order:  Physical work on site can begin in accordance with the following schedule:

Bid Package No. 1 -		003 Physics		October 29, 2014

090 Engineering	           	January 5, 2015

Bid Package No. 3 -		169 Bioengineering       	October 29, 2014

005 Science Hall            	October 29, 2014

603 Pharmacy             	October 29, 2014

and to complete the work as follows:  Substantial Completion, and State Approved Inspections (if 	appropriate), no later than:

Bid Package No. 1 -		003 Physics		July 31, 2015

090 Engineering	           	July 31, 2015

Bid Package No. 3 -		169 Bioengineering      	 May 29, 2015

005 Science Hall            	July 31, 2015

603 Pharmacy               	 October 30, 2015.

- A copy of the sign in sheet is available for downloading from the University Purchasing Web Site at  http://www.forms.purchasing.wayne.edu/Adv_bid/Adv_bid.html.

- These are occupied buildings, awarded vendor must be considerate of environment (noise, cleanliness, etc.).

- Please note, the University intends on releasing another Electrical Reliability Upgrades RFP, Bid Pack #2 by the end of September.  Please watch the University website for its release.

Discussion common to both Bid Package 1 (Physics and Engineering) and Bid Package 3 (Science Hall, Bioengineering and Pharmacy) :

- As part of the pre-bid meeting, a slide show was presented for each building.

- There was discussion about the Section 300 Form of Proposal and combination pricing.  A new Section 300 Form of Proposal for each bid package shall be issued by addendum 2.

- Both BP#1 and BP#3 have UPS equipment to be installed as a part of the project.  Equipment is to be obtained from Ancona (see specifications for contact and phone number) for the manufacturer Toshiba in accordance with the University’s preverred vendor agreement;  Ancona has fixed rate pricing for WSU projects.  Contractors shall include in their bid, all costs to purchase and install UPS equipment, so that it is completely functional.  Contractors shall be required to  provide UPS equipment price along with schedule of values for the project as part of any bid qualification meetings.

- All shut down work is to be coordinated sot that it is scheduled for Sundays or holidays.  The premium portion of the wage associated with shut down work is to be covered in the allowance that is to be included in the bid.  Addendum #2 will provide criteria to define shut down requirements for each of the buildings.  It will be the contractors responsibility to determine how to sequence and the means and methods necessary for shut downs to complete the work, including providing any necessary equipment, (renting and running generators, etc.) to minimize impact on the building occupants, which must be approved by WSU.  All costs to cover this effort must be included within the bid amount for respective buildings.   Any temporary enclosures shall be installed as security measures around cable wireway between temporary generator and secure area at building.

- Shut Downs:  Contractors must provide at a minimum a seven (7) day advanced shut down notice for disruption of any utilities.

- Contractor to include cost to install all communication wiring and conduits for Siemens controls, including mounting and terminations for power and data onto WSU supplied/Contractor installed Siemens devices.  Siemens equipment shall be provided by WSU.  Contractor shall arrange, coordinate and pick up Siemens control items thru WSU and their Siemens contractor.

- Generators are to be EPA Certified.  Contractors shall complete generator information / certification forms attached to the section 300 Form of Proposal.

- Contractors shall be responsible to obtain MDEQ permits.

- The contractor is responsible for the Overcurrent device coordination study/ arc flash hazard analysis as specified.

- Contractor shall be responsible to provide an independent staking service to perform ground penetrating radar for locating underground utilities in addition to their arranging with MISSDIG to stake existing utilities.  This shall be further clarified in Addendum 2.

- Contractors will be responsible for establishing temporary measures required to maintain a safe work environment including surrounding areas at all times during the course of the project.  (Signage, barricades, fencing, and general conditions required to perform their work and prevent students, visitors and staff from construction areas.)    All costs are to be included with in the bid.

- Contractor to schedule materials testing with WSU testing firm at least 48 hours in advance of required test.  WSU shall contract and pay for materials testing for soils, concrete and steel as required.

- Asbestos (hazardous materials) is present in some areas on some of these buildings; however, the University will handle the abatement removal and all costs associated with the removal.  Contractors will be required to work with WSU to identify areas of work where existing materials may need to be removed.

Discussion specific to Bid Package 1 (Physics and Engineering) -

- Commonwealth Associates, Inc. discussed Bid Package #1 – Physics and Engineering Buildings.

- Contractors need to provide a price for Alternate No. 1 at the Physics Building for Nitrogen Tank and associated piping and equipment removal for accounting purposes. .

- Siemens Drawings shall be issued in Addendum 2 for Physics and Engineering Buildings..

- Service conduits shall be encased in concrete.

- A question was raised about whether the quantity of 5” conduit will fit in the Physics Building and how it is to be separated.  This shall be further clarified in Addendum 2.

- Contractor shall be responsible for installation of customer side piping relocations for gas service, service pads, demolition of exiting items and revised details as shown by addendum.  DTE Michcon shall be responsible for routing of gas service to meter location, installation of new meter and pressure regulators.   Coordination of gas service shutdown for metering and pressure regulation installations with DTE Michcon shall be by Contractor thru WSU PM.  Service must not be disrupted for more than 4 hours, and shall be scheduled during non-occupied hours.  Gas Service Shut Down Notification shall be submitted a minimum of 7 days prior to scheduled work being performed.  Clarification shall be provided in Addendum 2.

- The contractor is responsible for the overcurrent device coordination study/ arc flash hazard analysis as specified.  This shall be further clarified in Addendum 2.

Discussion specific to Bid Package 3 (Science Hall, Bioengineering and Pharmacy) -

- Peter Basso gave an overview of the Bid Package #3 Science Hall, Bioengineering and Pharmacy.

- Tank size at Pharmacy shall be clarified in Addendum 2.

- Service conduits are not required to be in concrete.

- For Science Hall, shutdowns must be coordinated with DTE/PLD.  All PLD costs will be the responsibility of WSU.

- Contractors need to provide a price for Alternate No. 1 at Pharmacy for an alternate fence proposed at Generator Enclosure.

IMPORTANT- This is an addendum which MUST be acknowledged on your bid form

We will require two copies each of your lump sum proposals, vendor qualification questionnaire and your bid bond documents.

All questions concerning this project must be emailed to: Robert Kuhn, Procurement & Strategic Sourcing.  Email: ac6243@wayne.edu, and copy Valerie Kreher at rfpteam2@wayne.edu.

Do not contact either FP&M or the Design Firm directly as this may result in disqualification of your proposal.

Thank you for interest shown in working with Wayne State University.

Robert Kuhn

Sr. Buyer

CC:	Thomas J. Edwards, William McVea, Anne Lee-Vandenbussche,  Paula Reyes, Valerie Kreher, Cynthia Branch, Attendee list.