## Projects Notes
2016 Summer Projects - see Scope of Work in the RFP Documents
FOB: Destination
Scope of work-
Install new A/V Equipment in 14 WSU rooms
Deroy- 2 rooms get complete new A/V systems.
General Lectures- 2 rooms get additions to existing equipment
Manoogian Hall- 8 small classrooms get new projectors
Old Main- 1 room 2 new projectors
Old Main- 1 room gets OFE monitor and A/V equipment intstalled
Spectrum part numbers include options as noted
Warranty- to include all installation work as described for minimum 1 year
Deroy 046 & 146
Both room will get all new A/V systems installed. All equipment to be installed in locations
laid out in drawings.
Systems will be Crestron DM based, and Biamp Tesira Forte for spaces with additional audio gear.
All Cabling shall be plenum rated.
All Spectrum carts should be deilverd to WSU (zip 48202), lift not required.
All DM cables to be certified, with a copy of each report included in closeout documents
Vendor required to deliver all crestron gear with updated firmware.
Any deviations from provided drawings must be signed off by WSU staff.
WSU is responsible for all programming, and 110 volt power
General Lectures 100 & 150
Each Room gets additional moniors, with DM runs back to AV Booth.
Additional cards for Crestron matrix switchers to be installed by WSU staff.
Room layout and elevations will be provided.
All new monitors to be installed approximately 84-96" AFF
All DM cables to be certified, with a copy of each report included in closeout documents
WSU is responsible for all programming, and 110 volt power
Manoogian Hall - 8 Classrooms on First Floor
Each room will have a new projector installed, reusing the existing universal bracket and cage.
New DM cableing to installed for future use.
All DM cables to be certified, with a copy of each report included in closeout documents
WSU is responsible for all programming, and 110 volt power
Old Main Rooms 1107 & 1305
Room 1107 is dual projection room-
It will have 2 projectors replaced, reusing esisting universal bracket and cages
New DM cableing to installed for future use.
Room 1305 -
An OFE monitor will be mounted above markerboard on provided plywood backer board
OFE speakers to be installed and all wiring to be run to FSR wall box with disconnects.
All DM cables to be certified, with a copy of each report included in closeout documents
WSU is responsible for all programming, and 110 volt power

## GL Manoogian Old Main
Cost Schedule C for 100 General Lectures, Rm 150 General Lectures, Manoogian 1st Floor 8 Rooms & Old Main 1107, 1305 Old Main
Summary: scope of work for Room 100 General Lectures -
Remove existing Sanyo projector and install new Epson projector, Chief mount and hook up cables from existing DM receiver. Mount 4ea 80” monitors and Crestron scaler/receivers on articulating mounts in designated locations (elevations to be provided, approx.. 9’ AFF), run Crestron DM cable from head end in projection booth to each receiver scaler using provided pathway, and supply cables and hook up receiver scalers to each monitor. DM cables to be certified, with a copy of each report to be included in closeout documents. WSU will install new DM matrix cards, and is responsible for all programming, low voltage pathway, and 110 volt power.
Room 100 General Lectures
Item No. | Make | Model P/N | Description | Qty | Unit Price | Extended Price | Websites
1 | Epson | Pro Z10000WNL | 10,000 lumen projector | 1 | 0 | 0 | http://www.epson.com/cgi-bin/Store/jsp/Product.do?UseCookie=yes&sku=V11H608920&iref=internal_search
2 | Epson | ELPLM07 | middle throw lens for above projector | 1 | 0 | 0 | http://www.epson.com/cgi-bin/Store/jsp/Product.do?UseCookie=yes&sku=V13H010L82
3 | Epson | ELPLP82 | Dual lamp kit for above projector | 1 | 0 | 0 | http://www.epson.com/cgi-bin/Store/jsp/Product.do?UseCookie=yes&sku=V13H010L82
4 | Chief | VCMU | mount for projector | 1 | 0 | 0
5 | Chief | PNRUB | articulating Monitor mount up to 200lbs | 4 | 0 | 0 | http://www.chiefmfg.com/Products/PNRUB
6 | Sharp | LC-80LE661U | commercial flat screen w/3 year warranty | 4 | 0 | 0 | http://siica.sharpusa.com/Professional-Displays/Models/Details/LC-80LE661U
7 | Crestron | DM-RMC-4K-SCALER-C | scaler/receiver | 4 | 0 | 0 | https://www.crestron.com/Products/Model/DM-RMC-4K-SCALER-C
8 | Crestron | CBL-HD-3 | HDMI Interface Cable- 3ft. Scaler to monitor | 4 | 0 | 0 | https://www.crestron.com/products/model/CBL-HD
9 | Crestron | DMC-4K-CO-HD | output card for DM switcher | 2 | 0 | 0 | https://www.crestron.com/Products/Model/DMC-4K-CO-HD
10 | Crestron | DMC-4K-HDO | 2 Channel Scaling output card | 1 | 0 | 0
11 | Crestron | DM-CBL-ULTRA-P-SP500 | 8G cable 500 ft spool | 1 | 0 | 0 | https://www.crestron.com/Products/Model/DM-CBL-ULTRA-P
12 | Crestron | DM-CBL-ULTRA-P-SP1000 | 8G cable 1000 ft spool | 1 | 0 | 0 | https://www.crestron.com/Products/Model/DM-CBL-ULTRA-P
13 |  |  | Miscellaneous hardware, cables | 1 | 0 | 0
|  |  | Subtotal Equipment: |  |  | 0
Installation & Warranty
|  |  | installation | 1 | 0 | 0
|  |  | 1 year warranty |  | 0 | 0
|  |  | Subtotal: |  |  | 0
|  |  | Grand Total General Lectures Room 100: |  |  | 0
Scope of Work for Room 150 General Lectures -
Mount 2 each 70” monitors and Crestron receiver/scalers on articulating mounts in designated locations on the side of stage. Run Crestron DM cable* from head end to each monitor using provided pathway and hook up to scaler. DM cables to be certified, with a copy of each report included in closeout documents. Provide cabling and hook up of scaler to monitor. Relocate existing speakers utilizing existing hardware and cable. WSU is responsible for all programming, racks, low voltage pathway, and 110 volt power.
*Cable included in Room 100 Cost Schedule
Room 150 General Lectures
Item No. | Make | Model/PN | Description | Qty | Unit Price | Extended Price | Websites
1 | Sharp | LC70LE661 | 70" Commercial monitors w/ 3 year warranty | 2 | 0 | 0 | http://siica.sharpusa.com/Professional-Displays/Models/Details/LC-70LE661U
2 | Chief | PDRUB | Large Flat Panel Swing Arm Wall Mount - 37" Extension | 2 | 0 | 0 | http://www.chiefmfg.com/Products/PDRUB
3 | Crestron | DM-RMC-4K-SCALER-C | scaler/receiver | 2 | 0 | 0 | https://www.crestron.com/Products/Model/DM-RMC-4K-SCALER-C
4 | Crestron | DMC-4K-CO-HD | output card for DM switcher | 2 | 0 | 0 | https://www.crestron.com/Products/Model/DMC-4K-CO-HD
5 | Crestron | CBL-HD-3 | HDMI Interface Cable- 3ft. Scaler to monitor | 2 | 0 | 0 | https://www.crestron.com/products/model/CBL-HD
6 |  |  | miscellaneous mounting hardware | 1 | 0 | 0
7 |  |  | Misc. | 1 | 0 | 0
|  |  | Subtotal Equipment: |  |  | 0
Installation & Warranty
8 |  |  | installation | 1 | 0 | 0
10 |  |  | 1 year warranty |  | 0 | 0
|  |  | Subtotal: |  |  | 0
|  |  | Grand Total General Lectures Room 150: |  |  | 0
Summary Scope of Work for 8 Classrooms in Manoogian 1rst floor and 1107 Old Main (Same Equip, 2 Locations):
All quantities- 8 for Manoogian rooms, 2 for Old Main 1107. Remove existing projectors in each classroom and install new Epson projectors in the same location, re-using OFE mount. Re-attach existing analog wiring. Run new DM cable and terminate from projector to connection point for cart tether in existing WM 4000 conduit (approx. 35ft) for future use. DM cables to be certified, with a copy of each report included in closeout documents. Install the new D&D security alarm plate on each new projector and attach the existing alarm to the new projector. Install new projection screen on classroom wall to align with new projector (Manoogian rooms only). WSU is responsible for all programming, racks, and 110 volt power.
Manoogian 1st Floor 8 Rooms & Old Main 1107 (Dual projector room)
Cost Schedule C - Revised 5-13-2016
RFP AV Equipment Manoogian 1rst floor and 1107 Old Main upgrades summer 2016
All quantities- 8 for Manoogian rooms, 2 for Old Main 1107
Item No. | Make | Model/PN | Description | Qty | Unit Price | Extended Price | Websites
1 | Epson | 1985WUXGA | Projector mounted in existing cages | 10 | 0 | 0 | http://www.epson.com/cgi-bin/Store/jsp/Product.do?sku=V11H619020&UseCookie=yes
2 | Epson | ELPLP78 | spare bulbs for each projector | 10 | 0 | 0 | http://www.epson.com/cgi-bin/Store/jsp/Product/Accessories.do?sku=V11H619020&UseCookie=yes#lamps
3 | Da-Lite | 70292 | Screen 57.5" x 92" matte white 16:10 (Manoog only) | 8 | 0 | 0 | http://www.da-lite.com/products/manual-screens/model-c-with-csr
4 | Da-Lite | 40932 | NO 6 wall bracket white - 6" extension | 8 | 0 | 0 | http://www.da-lite.com/products/manual-screens/manual-screen-accessories/mounting-and-extension-brackets
5 | Crestron | DM-RM-4K-Scaler | receiver scalers | 10 | 0 | 0 | http://www.crestron.com/products/model/DM-RMC-4K-SCALER-C
6 | Crestron | CBL-HD-6 | HDMI Interface Cable- 6ft. Scaler to monitor | 10 | 0 | 0 | https://www.crestron.com/products/model/CBL-HD
7 | misc |  | network and control cables to connect receiver/scaler to projector- RS232 & Cat 6, 5 ft.each | 10 | 0 | 0
8 | Sonic Shock |  | Sonic Shock plate only for new projector (need size of existing alarm to order correct plate) | 10 | 0 | 0 | http://www.sonicshock.com/prices/prices.html
9 | Crestron | DM-CBL-ULTRA-P-SP500 | Roll of 8G cable plenum | 2 | 0 | 0 | https://www.crestron.com/Products/Model/DM-CBL-ULTRA-P
10 | Cable matters | 180014x6 | Metal Shielded RJ45 Keystone jack 6-pack | 4 | 0 | 0 | http://www.cablematters.com/pc-387-62-6-pack-cat6a-metal-shielded-rj45-keystone-jack.aspx
11 |  |  | miscellaneous mounting hardware | 1 | 0 | 0
12 |  |  | Misc. | 1 | 0 | 0
|  |  | Subtotal: |  |  | 0
Installation & Warranty
|  |  | installation |  |  | 0
|  |  | 1 year warranty | 1 |  | 0
|  |  | Subtotal: |  |  | 0
|  |  | Grand Total Manoogian 1st Floor 8 Rooms & Old Main 1107 (Dual projector room) |  |  | 0
Scope of Work for 1305 Old Main
Install 70” Sharp monitor (OFE) and receiver scaler on wall above whiteboard. Run DM cables from instructor cart to FSR wall box with disconnect and then up to monitor. Install OFE ceiling speakers- (JBL Control 26CT w/tile bridge, 70V) in ceiling tiles. Run speaker line from speakers to FSR box with Speakon disconnect. DM cables to be certified, with a copy of each report included in closeout documents. Install new D&D security alarm on monitor and in cart. WSU is responsible for all programming, racks, carpentry and 110 volt power. Media Services will install additional OFE equipment in the Spectrum Podium and would like to receive the cart asap.
1305 Old Main
Item No. | Make | Model/PN | Description | Qty | Unit Price | Extended Price | Websites
1 | Spectrum Industries | 55411-IO-BK-D-36-S4-1-2-SR-0-1-0-0 | Inspiration Plus Lectern 15RU w/Indigo Organix and black edge, Dark Gray | 1 | 0 | 0 | http://www.spectrumfurniture.com/assets/product_documents/052/2052/inspiration-plus-lectern-specs-7.pdf
|  | Included with above | 36" high
|  | Included with above | S4 Surround, Black Cove
|  | Included with above | 55408 rear rack rail
|  | Included with above | 55412 flip up shelf on right
1A? | Spectrum Industries | 95522 | 95522 monitor arm | 1 | 0 | 0
2 | Crestron | CBL-HD-6 | HDMI Interface Cable- 6ft. Scaler to monitor | 1 | 0 |  | https://www.crestron.com/products/model/CBL-HD
3 | Crestron | DM-RM-4K-Scaler | Receiver scaler | 1 | 0 | 0 | http://www.crestron.com/products/model/DM-RMC-4K-SCALER-C
4 |  |  | network and control cables to connect receiver/scaler to monitor | 1 | 0 | 0
5 | Cable matters | 180014x6 | Metal Shielded RJ45 Keystone jack 6-pack | 2 | 0 | 0 | http://www.cablematters.com/pc-387-62-6-pack-cat6a-metal-shielded-rj45-keystone-jack.aspx
6 |  |  | miscellaneous mounting hardware | 1 | 0 | 0
7 |  |  | Misc. | 1 | 0 | 0
|  |  | Subtotal: |  |  | 0
Installation & Warranty
9 |  |  | installation | 1 | 0 | 0
10 |  |  | 1 year warranty | 1 | 0 | 0
|  |  | Subtotal: |  |  | 0
|  |  | Grand Total 1305 Old Main |  |  | 0
Quoted by:
Title:
Company:
Date:

## Deroy_046
Cost Schedule C for Deroy, Rm 046
WSU Deroy 046
Item | Make | Model | Descirption | Qty | Unit Price | Extension
1 | Crestron | DMPS3-300-C 6506615 | 3-Series® DigitalMedia™ Presentation System 300 | 1 | 0 | 0
2 | Crestron | TSW-750-B-S (6505654) | 7” Touch Screen, Black Smooth | 2 | 0 | 0
3 | Crestron | TSW-750-TTK-B-S (6506065) | Tabletop Kit for TSW-750 & TSW-752, Black Smooth | 2 | 0 | 0
4 | Crestron | AM-100 (6507044) | AirMedia® Presentation Gateway | 1 | 0 | 0
5 | Crestron | DM-CBL-8G-P-SP500 (6504397) | DigitalMedia 8G™ Cable, plenum, 500 ft spool | 2 | 0 | 0
6 | Crestron | IRP2 (6500126) | IR Emitter | 1 | 0 | 0
9 | Crestron | DM-RMC-4K-SCALER-C (6506937) | 4K DigitalMedia 8G+ Receiver & Room Controller w/Scaler | 2 | 0 | 0
11 | Crestron | HD-SCALER-HD-E (6507570) | High-Definition Video Scaler, HDMI® In, HDMI Out | 2 | 0 | 0
11-A | Crestron | HD-DA-2 (6503809) | 1-to-2 HDMI Distribution Amplifier | 1 | 0 | 0
11-B | Crestron | HD-EXT3-C-B_SYSTEM (6506332) | 4K HDMI® over HDBaseT® Extender w/IR & RS-232, Black; includes HD-RX3-C-B and HD-TX3-C-B | 1 | 0 | 0
| ECHO360 | OFE | Echo360 PRO Lecture Capture Box | 1
| Dell PC | OFE | Instructor Computer for system | 1
7 | Biamp | Tesira Forte A1 | Audio signal processor | 1 | 0 | 0
8 | Cisco | SG-200-08P | Cisco Network Switch 4 ports POE | 2 | 0 | 0
9 | Sharp | LC80LE650U | 80" LCD Monitor | 2 | 0 | 0
10 | Blackmagic | BINTSSHU | Blackmagic Design Intensity Shuttle HDMI and Analog Capture Device for USB 3.0 | 1 | 0 | 0
11 | Premier | CMP | pole cover pack | 2 | 0 | 0
12 | Premier | PSD-HDCA | display adapters | 2 | 0 | 0
13 | Premier | PSD-TS-84B-MS2 | Monitor stand & mount | 2 | 0 | 0
14 | Spectrum | 55357--IO-BK-D-S1-0-2-1-0-1-1-0-0 | Freedom One eLift Lectern™ Indgo/Black with Dark Gray | 1 | 0 | 0
15 | Spectrum | included with above | Equipment Rack for Freedom One eLift | 0 | 0 | 0
16 | Spectrum | included with above | Unit-to-Unit Connector Kit | 0 | 0 | 0
17 | Spectrum | included with above | Flip-Up Shelf for Equipment Rack | 0 | 0 | 0
18 | Spectrum | included with above | Keyboard Tray | 0 | 0 | 0
19 | Spectrum | not needed | Solid Locking Door for Equipment Rack | 0 | 0 | 0
20 | Spectrum | not needed | Cove Power Module | 0 | 0 | 0
21 | Vaddio | 999-9916-000 | QDVI system Robo shot camera system | 1 | 0 | 0
22 | Williams Sound | WIR SYS 7522 PRO | Infrared audio xmitter system | 1 | 0 | 0
23 | Crown | CTS600 | Two-Channel Power Amplifier - 300 Watts per Channel | 1 | 0 | 0
24 | Crown | CDi1000 | CDi1000 Two-channel, 500W @ 4Ω, 70V/140V Power Amplifier | 1 | 0 | 0
25 | JBL | CBT70J-1 + 70JE-1-WH | Constant Beamwidth Technology Line Array Column Loudspeaker (White) | 2 | 0 | 0
26 | Rolls | RM82 | RM82 8 Channel Mic/Line Mixer | 1 | 0 | 0
27 | BlackBox | JPS60A-24 | CAT6 24 port Shielded Patch Panel | 1 | 0 | 0
28 | Hover Cam | Ultra 8 | Instructor Cart Document camera | 1 | 0 | 0
29 | Middle Atlantic | DECP-1X4 | Panel, 1 RU, Accepts 4 Decora Devices | 1 | 0 | 0
30 | Middle Atlantic | 39710 | HDMI pass thru | 1 | 0 | 0
31 | Middle Atlantic | 41011 | composite video and audio RCA pass thru | 1 | 0 | 0
32 | Middle Atlantic | 41025 | Decora VGA, 3.5 mm audio, RCA video and audio | 1 | 0 | 0
33 | Middle Atlantic | EHWB8-WH | Wall Box white 8 gang | 1 | 0 | 0
34 | Middle Atlantic | EHWBC8-WH | Wall Box Cover White | 1 | 0 | 0
35 | Middle Atlantic | OCAP-3 | shelf and for computer 3RU | 1 | 0 | 0
| OFE | OFE | custom cover for computer (for OCAP-3) | 1
36 | Middle Atlantic | PD-1820R-RN | power strip rack mount | 1 | 0 | 0
37 | Middle Atlantic | PD-915RV-RN | Rackmount Power, 9 Outlet, 15A, 2-Stage Surge | 1 | 0 | 0
38 | Middle Atlantic | PDT-1415C-NS | Power Strip, 14 Outlet, 15A | 1 | 0 | 0
39 | Middle Atlantic | RM-LCD-PNLK | LCD Rackmount, 3 RU, Pivot/Tilt | 1 | 0 | 0
40 | Middle Atlantic | RSH4A2S-SONY BDPS 1500 E | shelf and custom face plate for BluRay player 1RU | 2 | 0 | 0
41 | Middle Atlantic | SF1 | security cover for transmitters | 1 | 0 | 0
42 | Middle Atlantic | SSDR-8 | security cover for DMPS | 1 | 0 | 0
43 | Middle Atlantic | SSL | Sliding Rackshelf, 1 RU, Laminated | 1 | 0 | 0
44 | Middle Atlantic | U1V | Utility Rackshelf, 1 RU, 10.4"D, Vented | 1 | 0 | 0
45 | Middle Atlantic | UD-2 | drawer w/lock 2RU | 1 | 0 | 0
46 | Rutherford controls | 3513 | electronic lock assembly for rack drawer | 1 | 0 | 0
47 | Middle Atlantic | UFA-14.5 | shelf 2RU for both receivers 2RU | 1 | 0 | 0
48 | Middle Atlantic | UFAF-2 | security cover for receivers | 1 | 0 | 0
49 | Sony | BDPS 1500 E | Blue ray player multi region | 2 | 0 | 0
50 | Shure | MX395B/O | black condenser omni mic-Podium mounted | 1 | 0 | 0
51 | Shure | SCM268 | 1 RU mixer | 1 | 0 | 0
52 | Shure | ULXD 4 | digital wireless receiver | 1 | 0 | 0
53 | Shure | ULXD1 | bodypack xmitter | 1 | 0 | 0
54 | Shure | ULXD2/B58 | wirelss handheld xmitter | 1 | 0 | 0
55 | Shure | WL183 | lavalier mic | 1 | 0 | 0
56 | Smart Technologies | SP 524 | 24" podium display | 1 | 0 | 0
57 | Sony | BDPS 1500 E | Blue ray player multi region | 0 | 0 | 0
58 | Panasonic | ET-LAD310W | Pack of E90lamps for projector PT-B870U | 1 | 0 | 0
59 | Da-Lite Screen | 25942 | IDEA Screen- Whiteboard 50"x89" (50.75" x 89.75") | 2 | 0 | 0
60 | Draper | 253219 | Onyx screen 79"x140" 16x9 | 1 | 0 | 0
61 | Misc |  | Misc Components to Complete Project | 1 | 0 | 0
|  |  | Subtotal Equipment |  |  | 0
Installation & Warranty
61 |  |  | Installation at Prevailing Wage Rate | 1 | 0 | 0
62 |  |  | 1 Year Warranty | 1 | 0 | 0
|  |  | Subtotal Equipment |  |  | 0
|  |  | Grand Total for Deroy, Rm 046: |  |  | 0
Quoted by:
Title:
Company:
Date:

## Deroy_146
Cost Schedule C Deroy Rm 146
WSU Deroy 146
Item | Make | Model | Descirption | Qty | Unit Price | Extension
1 | Crestron | DM-MD16X16-RPS (6507187) | 16x16 DigitalMedia Switcher w/Redundant Power Supply | 1 | 0 | 0
2 | Crestron | DMC-4K-CO-HD-HDCP2 6507483 | HDBaseT Certified 4K DigitalMedia 8G+ Input Card for DM Switchers | 4 | 0 | 0
3 | Crestron | DMC-SDI (6502685) | 3G-SDI Input Card for DM Switchers | 1 | 0 | 0
4 | Crestron | DMC-4K-HD-HDCP2 6507421 | 4K HDMI Input Card for DM Switchers | 4 | 0 | 0
5 | Crestron | DMC-4K-CO-HD (6506952) | 2-Channel HDBaseT Certified 4K DigitalMedia 8G+ Output Card for DM Switchers | 3 | 0 | 0
6 | Crestron | DMC-HDO (6507169) | 2-Channel HDMi Output Card for DM Switchers | 4 | 0 | 0
7 | Crestron | DMC-STRO (6507173) | Streaming Output Card for DM Switchers | 1 | 0 | 0
8 | Crestron | DM-TX-401-C (6505028) | DigitalMedia 8G+ Transmitter 401 | 2 | 0 | 0
9 | Crestron | DM-RMC-4K-SCALER-C (6506937) | 4K DigitalMedia 8G+ Receiver & Room Controller w/Scaler | 4 | 0 | 0
10 | Crestron | DM-TX-4K-100-C-1G-B-T (6505629) | Wall Plate 4K DigitalMedia 8G+® Transmitter 100, Black Textured | 1 | 0 | 0
11 | Crestron | HD-SCALER-HD-E (6507570) | High-Definition Video Scaler, HDMI® In, HDMI Out | 2 | 0 | 0
12 | Crestron | HD-EXT3-C-B_SYSTEM (6506332) | 4K HDMI® over HDBaseT® Extender w/IR & RS-232, Black; includes HD-RX3-C-B and HD-TX3-C-B | 1 | 0 | 0
| Crestron | DM-PSU-8 (6505822) | 8-Port PoDM Power Supply for DM 8G+ I/O Cards | 1 | OFE
| Crestron | CP3N (6505417) | 3-Series Control System | 1 | OFE
13 | Crestron | TSW-750-B-S (6505654) | 7” Touch Screen, Black Smooth | 2 | 0 | 0
14 | Crestron | TSW-750-TTK-B-S (6506065) | Tabletop Kit for TSW-750 & TSW-752, Black Smooth | 2 | 0 | 0
15 | Crestron | AM-100 (6507044) | AirMedia® Presentation Gateway | 1 | 0 | 0
16 | Crestron | DM-CBL-8G-P-SP500 (6504397) | DigitalMedia 8G™ Cable, plenum, 500 ft spool | 2 | 0 | 0 | Need to Change
17 | Crestron | IRP2 (6500126) | IR Emitter | 1 | 0 | 0
| ECHO360 | OFE | Echo360 PRO Lecture Capture Box | 1 | OFE
| Dell PC | OFE | Instructor Computer for system | 1 | OFE
18 | Biamp | Tesira Forte A1 AVB | Audio signal processor | 1 | 0 | 0
19 | Biamp | EX-MOD | Audio i/o box for Biamp A1 AVB | 1 | 0 | 0
20 | Biamp | EIC-4 | 4 input card for EX-MOD | 1 | 0 | 0
21 | Biamp | EOC-4 | 4 output card for EX-MOD | 1 | 0 | 0
22 | Cisco | SG-200-08P | Cisco Network Switch 4 ports POE | 2 | 0 | 0
23 | MOTU | 9305 | AVB Switch | 1 | 0 | 0
24 | Sharp | LC80LE650U | 80" LCD Monitor | 2 | 0 | 0
25 | Premier | CMP | pole cover pack | 2 | 0 | 0
26 | Premier | PSD-HDCA | display adapters | 2 | 0 | 0
27 | Premier | PSD-TS-84B-MS2 | Monitor stand & mount | 2 | 0 | 0
28 | Spectrum | 55289-IO-BK-D-S1-L-3-4-1-0-0-0-0 | Freedom XRS elite Lectuern w/1 custom cutouts with rack cabinet | 1 | 0 | 0
29 | Spectrum | Included with above | keyboard tray | 0 | 0 | 0
30 | Spectrum | Included with above | rack cabinet - 14U front 10U back | 0 | 0 | 0
31 | Spectrum | Included with above | flip up shelf both sides | 0 | 0 | 0
32 | Vaddio | 999-9916-000 | QDVI system Robo shot camera system | 1 | 0 | 0
33 | Williams Sound | WIR SYS 7522 PRO | Infrared audio xmitter system | 1 | 0 | 0
34 | Crown | CTS600 | Two-Channel Power Amplifier - 300 Watts per Channel | 1 | 0 | 0
35 | JBL | CBT70J-1 + 70JE-1-WH | Constant Beamwidth Technology Line Array Column Loudspeaker (White) | 2 | 0 | 0
36 | Elvid | SRM-7x2-lt | StudioVision Dual 7" Monitor Rackmount | 1 | 0 | 0
37 | Rolls | HR-155 | HR155 Rackmount Monitor Speaker | 2 | 0 | 0
38 | Mackie | ProFX12v2 | 12-Channel Sound Reinforcement Mixer with Built-In FX | 1 | 0 | 0
39 | BlackBox | JPS60A-24 | CAT6 24 port Shielded Patch Panel | 1 | 0 | 0 | To be changed
40 | Hover Cam | Ultra 8 | Instructor Cart Document camera | 1 | 0 | 0
41 | Middle Atlantic | DECP-1X4 | Panel, 1 RU, Accepts 4 Decora Devices | 1 | 0 | 0
42 | Middle Atlantic | 39710 | HDMI pass thru | 1 | 0 | 0
43 | Middle Atlantic | 41011 | composite video and audio RCA pass thru | 1 | 0 | 0
44 | Middle Atlantic | 41025 | Decora VGA, 3.5 mm audio, RCA video and audio | 1 | 0 | 0
45 | Middle Atlantic | EHWB8-WH | Wall Box white 8 gang | 1 | 0 | 0
46 | Middle Atlantic | EHWBC8-WH | Wall Box Cover White | 1 | 0 | 0
47 | Middle Atlantic | ERK-3525KD | ERK Series Rack, 35 RU, 25"D, Knockdown | 1 | 0 | 0
48 | Middle Atlantic | ERK-RR35 | Rackrail, 10-32, 35 RU, ERK Series | 1 | 0 | 0
49 | Middle Atlantic | ERK-ST | Solid Top, ERK Series | 1 | 0 | 0
50 | Middle Atlantic | EVT1 | Vent Panel, 1 RU, Steel | 1 | 0 | 0
51 | Middle Atlantic | HP500 | Rackscrews, 10-32, Truss-Head, 500 pc. | 1 | 0 | 0
52 | Middle Atlantic | LF | Leveling Feet | 1 | 0 | 0
53 | Middle Atlantic | LT-GN | Gooseneck Light, USB Connector | 1 | 0 | 0
54 | Middle Atlantic | LT-GN-WL | Gooseneck Light, Magnetic | 1 | 0 | 0
55 | Middle Atlantic | OCAP-3 | shelf and for computer 3RU | 1 | 0 | 0
| OFE | OFE | custom cover for computer (for OCAP-3) | 1 | OFE
56 | Middle Atlantic | PD-1815R-RN | power strip rack mount | 1 | 0 | 0
57 | Middle Atlantic | PD-915RV-RN | Rackmount Power, 9 Outlet, 15A, 2-Stage Surge | 1 | 0 | 0
58 | Middle Atlantic | PDT-1415C-NS | Power Strip, 14 Outlet, 15A | 1 | 0 | 0
59 | Middle Atlantic | RM-LCD-PNLK | LCD Rackmount, 3 RU, Pivot/Tilt | 1 | 0 | 0
60 | Middle Atlantic | RSH4A2S-SONY BDPS 1500 E | shelf and custom face plate for BluRay player 1RU | 1 | 0 | 0
61 | Middle Atlantic | SF1 | security cover for transmitters | 1 | 0 | 0
62 | Middle Atlantic | SSL | Sliding Rackshelf, 1 RU, Laminated | 1 | 0 | 0
63 | Middle Atlantic | U1V | Utility Rackshelf, 1 RU, 10.4"D, Vented | 1 | 0 | 0
64 | Middle Atlantic | UD-2 | drawer w/lock 2RU | 1 | 0 | 0
65 | Rutherford controls | 3513 | electronic lock assembly for rack drawer | 1 | 0 | 0
66 | Middle Atlantic | UFA-14.5 | shelf 2RU for both receivers 2RU | 1 | 0 | 0
67 | Middle Atlantic | UFAF-2 | security cover for receivers | 1 | 0 | 0
68 | Middle Atlantic | UPS-S2200R | * Select Series UPS Backup power, 2RU, 2200VA | 1 | 0 | 0
69 | Shure | MX395B/O | black condenser omni mic-Podium mounted | 1 | 0 | 0
70 | Shure | SCM268 | 1 RU mixer | 1 | 0 | 0
71 | Shure | ULXD 4 | digital wireless receiver | 1 | 0 | 0
72 | Shure | ULXD1 | bodypack xmitter | 1 | 0 | 0
73 | Shure | ULXD2/B58 | wirelss handheld xmitter | 1 | 0 | 0
74 | Shure | WL183 | lavalier mic | 1 | 0 | 0
75 | Smart Technologies | SP 524 | 24" podium display | 1 | 0 | 0
76 | Sony | BDPS 1500 E | Blue ray player multi region | 1 | 0 | 0
77 | Panasonic | ET-LAD310W | Pack of E90lamps for projector PT-B870U | 1 | 0 | 0
|  |  | Subtotal Equipment |  |  | 0
Installation & Warranty
61 |  |  | Installation at Prevailing Wage Rate | 1 | 0 | 0
62 |  |  | 1 Year Warranty | 1 | 0 | 0
|  |  | Subtotal Equipment |  |  | 0
|  |  | Grand Total for Deroy, Rm 146: |  |  | 0
Quoted by:
Title:
Company:
Date: